

RESCUE

QuickClear Rescue electric suction unit is the perfect companion for any medical professional. Designed for use in the hospital, community, homecare or first line response setting, this unit combines an ultra-compact, lightweight design with impressively powerful suction performance.

QuickClear Rescue comes complete with a carry bag and strap, mains and car charger lead and can be charged from a wall socket or vehicle lighter socket. With up to a 45 minute battery run time and weighing only 2.8kg, Quick Clear Rescue can be quickly and easily transported to wherever it is needed.

**Features:**

* Slim and lightweight – easy to carry, transport and store
* Up to 45 minute battery performance – fast effective airway clearance
* High vac, high flow for powerful suction performance
* Rugged, modern design – shock resistant and easy to clean
* Includes carry bag and strap, mains and car charger lead and a 1 litre Serres canister with disposable liner as standard

**Technical Specification:**

|  |  |
| --- | --- |
| Vacuum Range | 0 – 610 mmHg0 – 81 kPa |
| Max. Flow Rate | 25 L/min |
| Dimensions | 240x125x216 mm |
| Weight | 2.8 kg |
| Voltage | 230V (50-60Hz)12V DC |
| Battery | Ni-Mh 3.3A (10 unit pk) |
| Run Time (Battery) | up to 45 mins |
| Charge Time | 4 hours |
| Warranty | 2 years |

CE marked and manufactured to EN 6061-1